ตาราง Compare

|  | Sartorius Quintix® Analytical Balance | Shimadzu AP224W |
| --- | --- | --- |
| Draft shield Display Adjustment Capacity Minimum display Repeatability Typical stabilization time Function Weighing Density Percentage Check Weighing Peak Hold Counting Unstable Conditions Animal Weighing Password protection Special laboratory applications Mixing Components Statistics Conversion Unit: mol Recipe formulation HPLC Buffer solution preparation | Manual Colored Touchscreen Internal calibration 220 g. 0.1 mg. 0.1 mg. 1.5 Sec. Yes Yes (Option accessory) Yes Yes Yes Yes Yes Yes No Yes Yes Yes Yes No No | Manual OELD Key pad อ่านค่าได้ ±85° Internal calibration 220 g. 0.1 mg. 0.1 mg. 2 Sec. Yes Yes (Option accessory) Yes Yes Yes Yes Yes Yes Yes Yes Yes Yes Yes Yes Yes |